Rain Shield Protective Enclosure Design: RS250VP (RS121C-VP)

Applications: Light to Heavy Duty Commercial Settings, Indoors & Outdoors, mild Wash-Down Conditions, Sanitary Water, Soaps, Detergents & light acids. Valve Actuators, Controls, Control Panels, Circuit Boards, Motors, VFD’s, Electronics, Scales, Cable Trays & Critical Operational Components that require protection.

Service: “Light Duty” Protective Enclosure for “Actuators, Outdoor Conditions, Weather Protection”

Maximum Service Temperature: 250˚F (121˚C).

Purpose: Rain Shield Enclosures are a CAD designed, CNC produced, high quality engineered system, designed to “Protect” key, sensitive components and equipment from weather, moisture, severe conditions including “Wash-Down”.  Shannon Rain Shield Protective Enclosures are flexible, easy to install, remove and reinstall, allowing quick access and easy equipment serviceability. The key benefit is reduced down time, labor savings & “Re-Usability”. Rain Shield will positively impact a Zero-Waste Initiative & enhance a V.P.P. (Volunteer Protection Program).

NEMA Type 3R: Enclosures constructed for either indoor or outdoor use to provide a degree of protection to personnel against access to hazardous parts; to provide a degree of protection of the equipment inside the enclosure against ingress of solid foreign objects (falling dirt); to provide a degree of protection with respect to harmful effects on the equipment due to the ingress of water (rain, sleet, snow); and that will be undamaged by the external formation of ice on the enclosure.

Jacketing Characteristics: The RS250VP Rain Shield Protective Enclosure is an 18.0oz/yd² (611g/m²) Vinyl Coated Polyester Cloth. The jacketing material is “Non-Porous” is weather, oil and water resistant. INSULTECH® Rain Shield includes fasteners for easy install, removal and re-installation.

Blanket Construction: Blanket construction shall be a “Double Sewn” lock stitch with a minimum 7 stitches/inch (2.8 stitches/CM). Blanket edges will have a tri-fold PTFE Teflon® jacketing binding. No raw cut jacket edge will be exposed. Stitching will be pure 100% PTFE thread. No “On-Site Fabrication” to assure high quality.

Identification I.D. Plate: For easy identification and location, upon removal, a stainless steel or Aluminum name plate tag is riveted to each Protective Enclosure. 1/8” (3.2mm) embossed lettering will show location, description, size, pressure rating and tag number sequence.

Record Keeping:  The correlating Project Documents & Production CAD Drawings will also be kept on file with the manufacturer for a minimum of 10 years after purchase. File library will include both CAD as well as ERP Database on purchase order documentation.

Design Approach: Thermal Blankets will be custom fit to match each specific component geometry. “Generic Designs” are not acceptable. Thermal Blankets will be a self-contained insulation system with an integral fastener to allow for easy access, removal and re-installation.

Manufacture Origin: Rain Shield & Rain Shield Components must be made U.S.A.

Project Qualifications:  All items to be treated will require a field takeoff prior to bid submittal, and must be reviewed for proper cost estimation. Upon receipt of project contract, each and every component must be field measured for retrofitting to existing field conditions and tagged with an identification tag corresponding to an item number for installation reference. At the time of installation, Rain Shield Enclosures must have a corresponding item number shown on the Rain Shield Protective

Enclosure tag and must match to an existing field tag. No standard Rain Shield Enclosures will be accepted, unless previously approved by the customer.

Project Accuracy and Effectiveness:  To demonstrate the efficacy of precision through the use of State-of-the-Art CAD Design. The efficacy of precision markings, with the ability to maintain a high degree of repetitiveness and control of manufacturing tolerances for locations of identification tags, stitch lines, Hook and Loop (Velcro®) and cut lines for fabric, through the use of State-of-the-Art CNC cutters.

Warranty:  We guarantee that all custom manufactured Shannon Rain Shield Protective Enclosures will accommodate field condition geometry and fit correctly for optimum performance as per the design specification provided in the quotation process. In addition, for 18 months, Rain Shield Enclosures will cover the cost of replacing the Rain Shield Enclosure should failure occur, due to premature degradation of any component utilized in the Rain Shield Enclosure construction, as well as any defects due to poor workmanship.

CAD / CNC Requirement: Shannon Rain Shield Protective Enclosures will require CAD Drawing Submittals to assure accuracy of design. Upon receipt of project contract, each item must be field measured, tagged and “Custom Fitted” to assure a quality fit and finish. All blankets are to be CAD designed / CNC produced to assure the highest quality, precise fit and electronic CAD filing retrieval for future replacement.

SELECT YOUR FASTENER:

STANDARD FASTENER Velcro® Flaps: Jacketing flaps are secured closed by the utilization of Hook/Loop (Velcro®) fasteners. A 2” (5CM) wide section of the Hook portion of the fastener will be stitched to the outer surface of the blanket. A 2” (5CM) wide section of the Loop portion will be aligned and stitched on the mating inner surface of an extended 2” or 2 ½” (5cm-6.4cm) jacketing flap.

FASTENING OPTIONS

“WIRETWISTS”: A stainless steel wire 20 Gauge (0.5 mm2) will be doubled up and twisted in a spiral fashion, with a minimum of 5-7 twists/Inch (2-3 twists/cm). Wiretwist length will be 16” (40 cm). The Wiretwist will be secured to the lacing pin at the pin stem. Pin stems will be 14 gauge (2.5 mm2). Wiretwists will be spaced at most 6” (15 cm) on center along closing seams with matching lacing pins for securing.

Dual Lock® Fastener:
Jacketing flaps utilize a Dual Lock Hook/Hook Fastener. A 1” (2.5cm) wide Hook portion of the fastener will be stitched to the inner jacketing surface. A 1” (5cm) wide Hook portion will be aligned and stitched onto the mating/matching flap.

Metal “D” Ring Strap with Velcro Tab: A three layer fabric strap is double sewn. One strap is a 12” (30cm) long pull-down strap, the other is a 3” (8cm) long stationary strap. Both straps are stitched to the outer jacketing of the blanket. The stationary strap includes a metal “D” Ring measuring 1”-1.5” wide (2.5-3.8cm). This is placed ½” (1.2cm) from the closing seam edge. The pull-down strap is placed 2” (5cm) in from the closing seam edge. Both matching straps are spaced along the closing seam edge no greater than 6” (15cm) apart. The pull-down strap includes hook-and-loop Velcro®, measuring at least 1” (2.5cm) wide by 5” (12.7cm) long, and is perimeter stitched to the strap surface. All closing seams have a 1.5” (3.8cm) extended fabric flap, which is placed along the stationary strap side of the closing seam.

Blanket Design Warranty:

Thermal Blankets will accommodate vibration probes, gauges, tubing, piping, brackets, etc. and fit correctly for optimum performance as per the design specification provided in the quotation process. In addition, for 18 months thermal blanket manufacturer will cover the cost of replacing the blanket should the failure be due to premature degradation of any component utilized in the blanket construction, as well as any defects due to poor workmanship.

Blanket Design Warranty:

Blankets will accommodate vibration probes, gauges, tubing, piping, brackets, etc. and fit correctly for optimum performance as per the design specification provided in the quotation process. In addition, for 18 months blanket manufacturer will cover the cost of replacing the blanket should the failure be due to premature degradation of any component utilized in the blanket construction, as well as any defects due to poor workmanship.

SELECT YOUR: Testing Requirements

ASTM C 335	Standard Test Method for Steady-State Heat Transfer Properties of Pipe Insulation.

ASTM E 1222 – 90	Standard Test Method for the Laboratory Measurement of the Insertion Loss of Pipe Insulation - USA

ISO 15665	Standard Test Method for the Laboratory Measurement of the Insertion Loss of Pipe Insulation – Int’l

ASTM C 1045 – 07	Standard Practice for Calculating Thermal Transmission Properties under steady state conditions

UL 1709		Standard Fire Test of Protection Materials for MOV / Structural Steel

ASTM E-84-17	Surface Burning Characteristics of Building Materials (Flame Spread & Smoke)

ASTM E-136	Combustion Characteristics of Building Materials / Fire Test Response

ASTM D3787	Burst Strength Evaluation for ASTM F1138 – Spray Shield Compliance

NEMA Type 3R 	Protection to Personnel